## EGAs
EGOLF AGREEMENTS (EGAs) - Mandatory for all EGOLF members (Issued January 2023)
Current document number | Previous document number | Reference to original query | Document title/subject | Cross-referenced test standards and product standards | Mandatory (EGA) or Best Practice (EGR) | Status | Issued/Re-issued (date) | Section relevance
EGOLF Agreement 001-2016 | EA 01rev1:2008 | SM1:1995 | Response time of thermocouples for measurement of air or gas phase temperature | EN 13823, EN ISO 1182:2010, EN ISO 1716 | Mandatory | Current | 2008-12-31 | Reaction to Fire
EGOLF Agreement 002-2016 | EA 02rev1:2007 | SM3:1996 | Calibration of smoke opacity measuring systems | EN 13823 | Mandatory | Current | 2007-12-31 | Reaction to Fire
| EA 05:1999 | EA 05 | Measurement of bonding properties of fire protection materials | EN 13381 series | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 013-2016 | EA 06:2008 | EGOLF TR:1997 | Choice, use and replacement of thermocouples in the non-combustibility furnace | EN ISO 1182 | Mandatory | Current | 1997-01-01 | Reaction to Fire
EGOLF Agreement 039-2021 | EA 08rev:2012 |  | Accreditation of fire test labratories: interpretation of EN ISO/IEC 17025 for fire laboratories | EN ISO/IEC 17025 | Mandatory | Current | 2021-01-07 | Fire Resistance/Reaction to Fire
n/a | EA 09: 2009 |  | Fire resistance tests for cavity barriers | EN 1363-1, EN 1366-3, 1366-4 | n/a | Withdrawn Oct 2018 (TM available as an EOTA TR 32 and is transformed to an EN). | 2009-01-01 | Fire Resistance
EGOLF Agreement 003-2016 | EGA 011:2016 | TC1 N533 & TC1 N610rev1 | Wall thickness of pipe insulation made out of FEF (flexible elastomeric foam) | EN ISO 11925-2 | Mandatory | New | 30 June 2016 | Reaction to Fire
EGOLF Agreement 004-2016 | EGA 012:2016 | TC1 N604rev1 | Joints for pipe insulation in the SBI | EN 15715:2009 | Mandatory | New | 30 June 2016 | Reaction to Fire
n/a | EGOLF / TR / 2: 2000 |  | Procedures for the choice, use, checking, mounting, and replacement of instrumentation used for temperature measurement in fire resistance tests. | EN 1363-1 |  | Obsolete | 2000-01-01 | Fire Resistance
n/a | SM6: 2000 |  | Fire testing: Fire resistance tests for service installations - method for the measurement of leakage [volume flow rates] to indicate integrity and smoke leakage. | EN 1366-1, EN 1366-2, EN 1366-8, EN 1366-9, EN 1366-10, EN 1366-12 | n/a (useful for training courses) | Current | 2000-01-01 | Fire Resistance
n/a | SM4: 1998 |  | Use and calibration of radiometers to be used for the measurement of irradiance and / or total head flux in fire resistance and reaction to fire testing | EN 13823 |  | Withdrawn | n/a | Reaction to Fire
SM7rev2 2017 | SM7rev: 2016 |  | EN 13823: 2002 "Reaction for fire tests for building products excluding flooring exposed to thermal attack by a single burning item. Procedures to be used for the validation of SBI 'data analysis' software" | EN 13823 | n/a | Available to EGOLF Members only | Re-issued 14/09/2017 | Reaction to Fire
n/a | R2: 1998 |  | Accreditation of fire test laboratoriesm - Interpretation of EN 45001:1989 when applied to fire test laboratories. |  |  | Obsolete |  | Fire Resistance/Reaction to Fire
EGOLF Agreement 005-2016 | ER 01v02:2016 | TC1 N213 | Air velocity in the chimney of the combustion chamber | EN ISO 11925-2 | Mandatory | Current | 2003-01-01 | Reaction to Fire
EGOLF Agreement 034-2018 | ER 09: 2003 | TC2 N262rev2 Helpdesk 2000-01 | Use of cotton pad in fire resistance tests. | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 006-2016 | ER 12:2008 | TC1 N239rev1 | Mounting of specimens with sizes smaller than given in §5.2 and §5.3 of the standard | EN ISO 9239-1 | Mandatory | Current | 2008-01-01 | Reaction to Fire
EGOLF Agreement 007-2016 | ER 31: 2005 | TC1 N276 | Testing flooring tiles also available as full size | EN ISO 9239-1 | Mandatory | Current | 2005-01-01 | Reaction to Fire
EGOLF Agreement 008-2016 | ER 38: 2008 | TC1 N292 | Distance between specimen & substrate | EN 13823, EN 13501-1 | Mandatory | Current | 2008-01-01 | Reaction to Fire
EGOLF Agreement 034-2018 | ER 39: 2007 | TC2 N262rev2 Helpdesk 2000-01 | Use of cotton pad in fire resistance tests | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 009-2016 | ER 44rev2: 2010 | TC1 N365 & TC1 N415rev | Testing Glass | EN 13823 SBI | Mandatory | Current | 2010-01-01 | Reaction to Fire
EGOLF Agreement 011-2016 | ER 50: 2010 | TC1 N375 | External fire exposure to roofs – various points for clarification | ENV 1187 & EN 13501-5 | Mandatory | Current | 2010-03-02 | Reaction to Fire
EGOLF Agreement 034-2018 | ER 51 | TC2 N262rev2 Helpdesk 2000-01 | Use of cotton pad in fire resistance tests | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 037 | ER 55: 2011 | TC2 N621 | Number of specimens to be tested | EN 1634-3 | Mandatory | Current | 26/07/2012 & updated for issue 22/08/2018 | Fire Resistance
EGOLF Agreement 012-2016 | EGR 58: 2011 | TC1 N445 | Position of the substrate for the long wing when mounting with a cavity | EN 13823:2010 | Mandatory | Current | 2012-07-26 | Reaction to Fire
EGOLF Agreement 014-2016 | EGR 59v02:2016 | TC1 N418rev1 | Pipe insulation products with inner diameters > 22 mm | EN 13823 | Mandatory | Current | 2012-07-26 | Reaction to Fire
EGOLF Agreement 015-2016 | EGR 60: 2011 | TC1 N445 | External fire exposure to roofs – various points for clarification | ENV 1187 & EN 13501-5 | Mandatory | Current | 2012-07-26 | Reaction to Fire
EGOLF Agreement 016-2016 | EGR 62v02:2016 | TC1 N459 | Distance of filter paper | EN ISO 11925-2 | Mandatory | Current | 2012-07-26 | Reaction to Fire
EGOLF Agreement 033-2018 | EGR 65: 2012 | TC2 N613 | Calculation of adjusted leakage rate | EN 1634-3 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 027-2018 | EGR 66: 2012 | TC2 N612rev1 | Omitting failed glass element | EN 1634-1, EN 15269-3 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 017-2016 | EGR 69:2012 | TC1 N479 | External fire exposure to roofs – correct use of CEN /TS 1187:2012 in support of “CE” marking to CPD | CEN/TS 1187 & ENV 1187 & EN 13501-5 | Mandatory | Current | 2012-11-27 | Reaction to Fire
EGOLF Agreement 018-2016 | EGR 70:2012 | TC1 N480 &N484 | System chimneys with plastic flue liners | EN 13823 | Mandatory | Current | 2012-11-27 | Reaction to Fire
EGOLF Agreement 019-2016 | EGR 71:2012 | TC1 N472 & TC1 N483 | Flexible air ducts & PVC/PP plastic ducts to protect electrical wires | EN 13823 | Mandatory | Current | 2012-11-27 | Reaction to Fire
EGOLF Agreement 020-2016 | EGR 72:2013 | TC1 N490 | Validity of test results | EN ISO 1716:2010 | Mandatory | Current | 2013-03-11 | Reaction to Fire
EGOLF Agreement 021-2016 | EGR 73:2013 | TC1 N499 | Interpretation of definitions | TS1187 TM2 and EN13501-5 | Mandatory | Current | 2013-03-13 | Reaction to Fire
EGOLF Agreement 022-2016 | EGR 75:2013 | TC1 N501rev1 | Interpretation of "accuracy" | EN ISO 1716 | Mandatory | Current | 2013-03-13 | Reaction to Fire
EGOLF Agreement 023-2016 | EGR 76v02:2016 | n/a | Thickness of the aluminium foil tray | EN ISO 11925-2 | Mandatory | Current | 2014-01-20 | Reaction to Fire
EGOLF Agreement 024-2016 | EGR 77:2013 | n/a | Fastening at seams | CEN/TS 1187 | Mandatory | Current | 2014-01-20 | Reaction to Fire
EGOLF Agreement 035-2018 | EGR 79:2014 | TC2 N703 Helpdesk item 2013-09 | Gap length of smoke control doors | EN 1634-3 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 025-2016 | EGR 81:2014 | TC1 N547rev1 | Classification report according to EN 13501-5, based on testing according to CEN/TS 1187, test method 1 | EN 13501-1, CEN/TS 1187 | Mandatory | Current | 2014-06-06 | Reaction to Fire
EGOLF Agreement 010-2016 | EGR 82:2014 | TC1 N535 & TC1 N446 | Flaming droplets and particles - harmonised grid for SBI burner | EN 13823 | Mandatory | Current | 2014-06-06 | Reaction to Fire
EGOLF Agreement 036-2018 | EGR 84:2014 | TC2 N702 | Discontinuity – different interpretations | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
EGOLF Agreement 026-2016 | EGR 88:2015 | SM3:1996 | Test specimen according to CEN/TS 1187 tm1 | CEN/TS 1187 tm1 | Mandatory | Current | 2015-02-25 | Reaction to Fire
EGOLF Agreement 027-2016 | new TC1 Agreement | TC1 N591 | Products with large thicknesses | EN ISO 9239-1 | Mandatory | Current | 2016-04-30 | Reaction to Fire
EGOLF Agreement 028-2016 | n/a | TC1 N625rev2 | Preparation of test specimens according to CEN/TS 1187 tm2 | CEN/TS 1187 tm2 | Mandatory | Current | 2016-10-18 | Reaction to Fire
EGOLF Agreement 029-2016 | n/a | TC1 N636rev1 | Product orientation in the SBI | EN 13823 | Mandatory | Current | 2016-10-18 | Reaction to fire
EGOLF DRAFT Agreeement 030-2017 (N673rev2) | n/a | TC1 N240rev1 | Adjacent layers of the same material in a multilayer product | EN ISO 1182: 2010 | n/a | Withdrawn meeting TC1 09/04/2019 | n/a | Reaction to fire
EGOLF Agreeement 031-2017 | n/a | TC1 N654rev2 | Premature SBI test termination due to excessive heat release counts towards classification | EN 13823, EN 13501-1 | Mandatory | Current | 2018-01-28 | Reaction to fire
EGOLF Agreement 038-2019 | n/a | Helpdesk 2018-03/N680rev3 | Calculation method for brackets given in ‘piece/area’ for cladding systems (not ETICS) | EN ISO 1716 | Mandatory | Current | 2019-06-03 | Reaction to fire
EGOLF Agreement 040-2021 | n/a | TC2 N951rev1-3 | Common interpretation of the requirements to classify C0 for fire and smoke control doorsets and windows | EN 1634-1, EN 1634-3, EN 16034, EN 14600, EN 13501-2 | Mandatory | Current | 2021-12-06 | Fire Resistance

## EGRs
EGOLF RECOMMENDATIONS (EGRs) - Best Practice (Issued January 2023)
Current document number | Previous document number | Reference to original query | Document title/subject | Cross-referenced test standards and product standards | Mandatory (EGA) or Best Practice (EGR) | Status | Issued/Re-issued (date) | Section relevance
EGOLF Recommendation 024-2018 | EA 03: 2006 | EA 03:2006 | Pressure transducers for fire resistance tests | EN 1363-1 | Best practice | Current | 2006-12-31 | Fire Resistance
EGOLF Recommendation 024rev1-2018 (Withdrawn 05/10/2021) | EA 04: 1998 | EA 04rev1:1998 | Pressure transducers for fire resistance tests | EN 1363-1 | Best practice | Withdrawn 05/10/2021. Superseded by EGR 061 | 2018-08-21 | Fire Resistance/Reaction to Fire
EGOLF Recommendation 025-2018 | EA 07: 2009 | EA 07: 2009 | Procedures for temperature measurement in fire resistance tests | EN 1363-1 | Best practice | Current | 2018-08-21 | Fire Resistance
n/a | R1: 1997 |  | The opperation of an EGOLF Organisation of Agreement Groups and individual EGOLF Agreement Groups. |  |  | Obsolete |  | Fire Resistance/Reaction to Fire
n/a | R3: 2001 |  | Rules and procedures for the operation of individual EGOLF competency groups. |  |  | Obsolete |  | Fire Resistance/Reaction to Fire
n/a | R2: 1998 |  | Accreditation of fire test laboratoriesm - Interpretation of EN 45001:1989 when applied to fire test laboratories. |  |  | Obsolete |  | Fire Resistance/Reaction to Fire
n/a | ER 02: 2003 |  | EN ISO 11925-2 Observation of flame spread at the back of the specimen. | EN ISO 11925-2 | n/a | withdrawn Nov 2015 | 2003-01-01 | Reaction to Fire
n/a | ER 03: 2003 |  | EN 1363-1 Testing specimens with clear openings into the furnace | EN 1363-1, EN 1364-1, EN 1364-2, EN 1364-3, EN 1364-4, EN 1366-1, EN 1366-2, EN 1366-3, EN 1366-4, EN 1366-5, EN 1366-6, EN 1366-7, EN 1366-8, EN 1366-9, EN 1366-10, EN 1634-1, EN 1634-2 | n/a | withdrawn | 2003-01-01 | Fire Resistance
n/a | ER 04:2004 |  | EN ISO 9239-1 Revised procedure for setting up apparatus according to 7.2.3 to take account of fluctuations in measured heat flux | EN ISO 9239-1 | n/a | withdrawn 2016 | 2004-01-01 | Reaction to Fire
EGOLF Recommendation 001-2016 | ER 05: 2004 | TC1 N207rev2 & TC1 N233 | Non-separable multilayer products with aluminium or other metallic foils – Procedure of delamination | EN ISO 1716 | Best practice | Current | 01/01/2004 & revised 18/10/2016 | Reaction to Fire
n/a | ER 06: 2004 |  | EN ISO 11925-2 Test frame for edge testing multilayer products of greater than 10 mm thickness | EN ISO 11952-2 | n/a | withdrawn Nov 2015 | 2004-01-01 | Reaction to Fire
n/a | ER 07: 2003 |  | EN ISO 11925-2 Number of test specimens for multilayer products | EN ISO 11925-2 | n/a | withdrawn Nov 2015 | 2003-01-01 | Reaction to Fire
n/a | ER 08: 2003 |  | EN ISO 11925-2 Reduction of accuracy to which flame height needs to be measured compared to that given in the standard. | EN ISO 11925-2 | n/a | withdrawn Nov 2015 | 2003-01-01 | Reaction to Fire
EGOLF Agreement 034-2018 | ER 09: 2003 | TC2 N262rev2 Helpdesk 2000-01 | Use of cotton pad in fire resistance tests. | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
n/a | ER 10: 2003 |  | EN 1634-1 Testing of glass fire doors and need / how to measure temperature of (leaf) frames | EN 1634-1: 1999 | n/a | Obsolete | 2003-01-01 | Fire Resistance
EGOLF Recommendation 029-2018 | ER 11: 2004 | Plenary N336 TC4 N144 §10 TC4 N149 | Notification of mistakes |  | Best practice | Current | 2018-08-21 | Fire Resistance/Reaction to Fire
n/a | ER 13: 2007 |  | EN ISO 11925-2 Testing vapour barrier foils | EN ISO 11925-2 | n/a | withdrawn | 2007-01-01 | Reaction to Fire
n/a | ER 14: 2003 |  | ENV 13381-4 Avoidance of buckling of steel test specimens | ENV 13381-4 | n/a | withdrawn | 2003-01-01 | Fire Resistance
n/a | ER 15: 2003 |  | EN 1634-1 Testing of metal fire doors andneed to avoid confusion of metal types | EN 1634-1: 1999 | n/a | Obsolete | 2003-01-01 | Fire Resistance
n/a | ER 16: 2003 |  | EN 1364-1 Amendment to 13 'Feild of Direct Application' with respect to permitted direct application to types of joints tested | EN 1364-1: 1999 | n/a | withdrawn | 2003-01-01 | Fire Resistance
n/a | ER 17:2003 |  | EN1363-1 Content of statements of 'Field of Diret Application' to be given in test reports | EN 1363-1, EN 1364-1, EN 1364-2, EN 1364-3, EN 1364-4, EN 1365-1, EN 1365-2, EN 1365-3, EN 1365-4, EN 1365-5, EN 1365-6, EN 1366-1, EN 1366-2, EN 1366-3, EN 1366-4, EN 1366-5, EN 1366-6, EN 1366-7, EN 1366-8, EN 1366-9, EN 1366-10, EN 1634-1, EN 1634-2, EN 1634-3 | n/a | withdrawn (replaced by EGR 013) | 2003-01-01 | Fire Resistance
n/a | ER 18:2003 |  | ENV 13381-3 Avoidance of cracking / collapse of long slab and beam test specimens (> the 4m standard length given in the standards). | ENV 13381-3: 2002 | n/a | withdrawn | 2003-01-01 | Fire Resistance
n/a | ER 19:2003 |  | EN 1643-1 Field of direct application from testing doubleleaf doors and permitted increase / decrease of size of leaves without change in overall sze. | EN 1634-1 | n/a | Obsolete | 2003-01-01 | Fire Resistance
EGOLF Recommendation 030-2018 | ER 20:2001 | TC2 N267rev1 Helpdesk 2001-02 | Neutral pressure plane in tall furnaces | EN 1363-1 | Best practice | Current | 2018-08-21 | Fire Resistance
n/a | ER 21: 2004 |  | ENV 13381-4 Determination of fire protection result when the fire protection fails on both loaded and unloaded reference beams at temberatures lower than 250oC | ENV 13381-4 | n/a | withdrawn | 2004-01-01 | Fire Resistance
n/a | ER 22: 2004 |  | EN ISO 1182 Methods of preparation of test speciments from liquid applied adhesives and prodcuts and protocol for choice of preparation method to be used during testing to EN ISO 1182. | EN ISO 1182 | n/a | Obsolete | 2004-01-01 | Reaction to Fire
EGOLF Recommendation 031-2018 | ER 23: 2004 | TC2 N280rev1 Helpdesk 2001-07 | Insulation test on glazing that breaks | EN 1364-1 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 032-2018 | ER 24: 2004 | TC2 N307rev1 Helpdesk 2003-02 | Definition of gaps and measurement of size of gaps | EN 1634-1 | Best practice | Current | 2018-08-21 | Fire Resistance
n/a | ER 25: 2004 |  | ENV 13381-3 Definition of loading and bending moment to be applied to test speciments (correction of error in standard) | ENV 13381-3: 2002 | n/a | Withdrawn | 2004-01-01 | Fire Resistance
n/a | ER 26: 2004 |  | EN1634-1 Testing for fire doors which incorporate small areas [size less than (200 x 200)mm] of differing thermal insulation than that of the main area(s) of the door and measurement of mazumum temperature in those areas | EN 1634-1: 1999 | n/a | Obsolete | 2004-01-01 | Fire Resistance
EGOLF Recommendation 033-2018 | ER 27: 2004 | TC2 N309rev1 Helpdesk 2003-04 | Loading of large concrete/profiled sheet steel composite test specimens | EN 13381-5 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 002-2016 | ER 29v02:2016 | TC1 N259 | Validity of tests with 30 s exposure time for class E according to EN 13501-1 | EN ISO 11925-2 | Best practice | Current | 2004-01-01 | Reaction to Fire
n/a | ER 30: 2005 |  | EN ISO 11925-2 Testing to annex A and reporting. | EN ISO 11925-2 | n/a | withdrawn Nov 2015 | 2005-01-01 | Reaction to Fire
to be reviewed by TC4 | ER 32: 2005 |  | Accreditation of laboratories performing classification work under the new European test and classification system. | EN 13501-1, EN 13501-2 | Best practice | to be discussed TC4 meeting April 2021 | 2005-01-01 | Fire Resistance
EGOLF Recommendation 034-2018 | ER 33: 2006 | Opening/closing of doors before test | Opening/closing of doors before test | EN 1634-1, EN 1634-3 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 003-2016 | ER 34rev1: 2009 | TC1 N579rev2 item 10 | Selection of colours for covering a range | EN ISO 1716, EN 13823, EN ISO 11925-2 | Best practice | Current | 2009-01-01 | Reaction to Fire
n/a | ER 35: 2006 |  | EN ISO 9239-1 Testing small size floorings | EN ISO 9239-1 | n/a | withdrawn | 2006-01-01 | Reaction to Fire
n/a | ER 36: 2006 |  | EN 1363-1 Controlling the furnace temperature in the inital stages of a fire test | EN 1363-1 General requirements for fire resistance tests | n/a | withdrawn | 2006-01-01 | Fire Resistance
| ER 37: 2006 |  | Treatment of ‘free vertical edges’ when testing non-loadbearing walls to EN 1364-1 | EN 1364-1: 1999 | n/a | withdrawn TC2 meeting April 2019 (N895) | n/a | Fire Resistance
EGOLF Agreement 008-2016 | ER 38: 2008 | TC1 N292 | Distance between specimen & substrate | EN 13823, EN 13501-1 | Mandatory | Current | 2008-01-01 | Reaction to Fire
EGOLF Agreement 034-2018 | ER 39: 2007 | TC2 N262rev2 Helpdesk 2000-01 | Use of cotton pad in fire resistance tests | EN 1363-1 | Mandatory | Current | 2018-08-21 | Fire Resistance
n/a | ER 40: 2008 |  | EN 1363-1 Position of free edge | EN 1364-1 | n/a | withdrawn | 2008-01-01 | Fire Resistance
n/a | ER 41: 2009 |  | EN1364-1 Position of thermocouples when testing partitions | EN 1364-1 | n/a | withdrawn | 2009-01-01 | Fire Resistance
n/a | ER 42: 2009 |  | EN 1364-1 Guidlines on how to derive rules to reduce the number of tests needed when testing non loadbearing elements with multiple variations and field of application | EN 1364-1 | n/a | withdrawn | 2009-01-01 | Fire Resistance
EGOLF Recommendation 035-2018 | ER 45: 2009 | TC2 N535, Helpdesk 2009-09 | Determination of binder content | EN 1363-1 | Best practice | Current | 2018-08-21 | Fire Resistance
n/a | ER 46rev: 2009 |  | EN1634-1:2008 Fire Resistance Tests - Fire Doors | EN 1634-1:2008 | n/a | withdrawn | 2009-01-01 | Fire Resistance
n/a | ER 47: 2009 |  | EN1634-1:2008 Fire Resistance Tests - Fire Doors | EN 1634-1: 2008 | n/a | withdrawn | 2009-01-01 | Fire Resistance
EGOLF Recommendation 036-2018 | ER 48: 2009 | N460 N505 clause 10 N518 | Clarification of test procedures | EN 1366-8: 2004 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLR Recommendation 049-2018 | ER 49: 2009 | TC2 N532 | Pressure conditions when testing columns or stairs | EN 1365-4, EN 1365-6 | Best practice | Current | 01/01/2009 & updated for issue22/08/2018 | Fire Resistance
EGOLF Recommendation 050-2018 | ER 52:2010 | EGOLF TC2 Round Robin (RR TC2 09-1) | Deduction of the insulation performance criteria | EN 1363-1 | Best practice | Current | 01/01/2010 & updated for issue 22/08/2018 | Fire Resistance
EGOLF Recommendation 043-2018 | EGR 54: 2014 | TC2 N614rev1 | Linear joint seals width classification | EN 1366-4, EN 13501-2 | Best practice | Current | 31/01/2015 & with new doc. no. 21/08/2018 | Fire Resistance
EGOLF Recommendation 044-2018 | EGR 56: 2011 | Revision of EGOLF training course materials, EN ISO 11925-2 (2010) | Use of filter paper for detecting Flaming droplets or particles | EN ISO 11925-2 | Best practice | Current | 31/12/2011 (& with new doc. no. 21/08/2018) | Reaction to Fire
EGOLF Recommendation 045-2018 | EGR 57: 2011 | TC1 N433, Helpdesk 2010-11 | Restrctions concerning range of substrate thicknesses in classification reports. | EN 13823 and EN 13501-1 | Best practice | Current | 26/07/2012 (& with new doc. No. 21/08/2018) | Reaction to Fire
n/a | EGR 61: 2012 |  | Guidance on mounting and fixing procedure for air blown cellulose based loose fill materials (FprEN 15101-1) in the SBI (EN13823) | EN 13823:2010 & FprEN 15101-1:2010 | n/a | withdrawn Nov 2015 | 2012-07-26 | Reaction to Fire
n/a | EGR 63: 2012 |  | EN 1364-1: 1999 Aspect ratio Glass - DIAP Glazed elements | EN 1364-1:1999 | n/a | withdrawn | 2012-07-26 | Fire Resistance
n/a | EGR 64: 2012 |  | Density of insulation for small samples accodring to ETAG 018-3 (E.9.3) | ETAG 018-3 | n/a | withdrawn | 2012-07-26 | Fire Resistance
EGOLF Recommendation 026-2018 | EA 10rev2 2014 | EA 10rev2 2014 | Assessments in lieu of fire tests | EN 1363-1 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 027-2018 | EGR 66: 2012 | TC2 N612rev1 | Omitting failed glass element | EN 1634-1, EN 15269-3 | Best practice | Current | 2018-08-21 | Fire Resistance
n/a | EGR 67: 2012 |  | Glazed Constructions - Exchange of the fire resistant glass |  | n/a | withdrawn | 2012-09-12 | Fire Resistance
EGOLF Recommendation 028-2018 | EGR 68: 2012 | EGR 68:2012 | Disregarding unexposed thermocouples | EN 1363-1 | Best practice | Current | 2012 & with new doc. No. 21/08/2018 | Fire Resistance
n/a | EGR 74:2013 |  | Range of test sheets of PVC panels for wall covering | SBI (EN 13823) | n/a | superseded by Recommendation 003-2016 | n/a | Reaction to Fire
EGOLF Recommendation 037-2018 | EGR 78:2014 | EGR 78:2014 | Fabrication and fixing of thermocouples | EN 1363-1 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 038-2018 | EGR 80:2014 | EGR 80 | Edge effect of loadbearing constructions | EN 1365-1 series | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 040-2018 | EGR 85v02:2014 | EGR 85v02 | Verification of wood studs in loadbearing samples | EN 1363-1, EN 1365-1 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 047-2018 | EGR:86:2014 | TC1 N531rev2 | PIR and PUR flat and linear products classification | EN 13501-1, EN 14308:2009 | Best practice | Current | 19/12/2014 & with new no. 21/08/2018 | Reaction to Fire
EGOLF Recommendation 041-2018 withdrawn by Chair TC2 since ER 41 contradicts EN 1634-2, which recommends using 15 mm | EGR:87:2014 | EGR:87 | Location of thermocouples on the frame | EN 1634-1 | n/a | withdrawn | withdrawn 14/12/2018 -problem resolved EN 1634-1:2018 | Fire Resistance
EGOLF Recommendation 048-2018 | EGR 89:2015 | TC2 N705, Helpdesk 2013-11 & N714rev2 | ETAG 018-3 evaluation primers | ETAG 018-3 | Best practice | Current | 13/04/2015 & with new doc. No. 21/08/2018 | Reaction to Fire
EGOLF Recommendation 042-2018 | EGR 90:2015 | TC2 N735 | Gaskets | EN 1364-3 | Best practice | Current | 2018-08-21 | Fire Resistance
EGOLF Recommendation 004-2016 | EGR 91:2015 | TC1 N566 | Potential improvements concerning the brands used in test method 1 according to CEN TS 1187 | CEN TS 1187 | Best practice | Current | 2015-11-03
EGOLF Recommendation 005-2016 | n/a | TC1 N606rev3 | Difference in density of calcium silicate board given in the standard | CEN/TS 1187 tm1 & EN 13501-5 | Best practice | Current | 2016-10-18 | Reaction to fire
EGOLF Recommendation 006:2016 | n/a | TC2 N782rev1 | Definition mechanical stability | EN 1366-1 | Best practice | Current | 2016-10-20 | Fire resistance
EGOLF Recommendation 007:2016 | n/a | TC2 N784rev2 | Deflection measurements during leakage | EN 1366-8: 2004 | Best practice | Current | 2016-10-20 | Fire resistance
EGOLF Recommendation 008:2016 | n/a | TC2 N785rev1 | Field of application -suspension of ducts | EN 1366-1 | Best practice | Current | 2016-10-20 | Fire resistance
EGOLF Recommendation 009:2016 | n/a | TC2 N787rev1 | How to calculate load levels | EN 13381-4 & -8 | Best practice | Current | 2016-10-20 | Fire resistance
EGOLF Recommendation 010-2017 | n/a | TC1 623rev2 | SBI test for non flat products | EN 13823 | Best practice | Current | 2017-03-23 | Reaction to fire
EGOLF Recommendation 011rev1-2020 | EGR-011-2017 | TC2 N828 helpdesk 2017-01 | Testing of fire dampers and/or smoke control dampers with uncoated/coated housing and/or blade | EN 1366-2:2015 and EN 1366-10:2011 | Best practice | Current | 2020-01-03 | Fire resistance
EGOLF Recommendation 012-2017 | n/a | TC2 N817 | Limits of the assessment - fire resistance period | EN 13381-8:2013, EN 13381-4:2013 | Best practice | Current | 2017-12-01 | Fire resistance
EGOLF Recommendation 013-2017 | n/a | TC2 N831rev1 | Content of statements of ‘Field of direct application’ in test reports | EN 1363-1:2012 | Best practice | Current | 2017-12-01 | Fire resistance
EGOLF Recommendation 014-2019 | previously EGR 014-2018 | TC1 N667rev1 | Protection of the SBI trolley with aluminium foil | EN 13823 | Best practice | Current | 2019-05-09 | Reaction to fire
EGOLF Recommendation 015-2018 | n/a | TC2 N860rev1 | Seals for gaps between door frame & wall | EN 15269-3 | Best practice | Current | 2018-07-16 | Fire resistance
EGOLF Recommendation 016-2018 | n/a | Workshop 06/2017 | Placement of plate thermometers | 1363-1, 1634-1 | Best practice | Current | 2018-04-18 | Fire resistance
EGOLF Recommendation 017-2018 | n/a | Workshop 06/2017 | Position of thermocouples on door frames | 1363-1, 1634-1 | Best practice | Current | 2018-04-18 | Fire resistance
EGOLF Recommendation 018-2018 | n/a | Workshop 06/2017 | Precedence of one standard over another | 1363-1, 1634-1 and others | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 019-2018 | n/a | Workshop 06/2017 | Average temperature thermocouples to determine max.temperature criterion | EN 1634-1 | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 020-2018 | NEW | Workshop 06/2017 | Average temperature thermocouples moved away from stiffeners, joints, through components, features and hotspots | EN 1634-1 and EN 1363-1 | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 021-2018 | n/a | Workshop 06/2017 | Positioning of thermocouples on hotspots in door leaves | EN 1634-1 | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 022-2018 | n/a | Workshop 06/2017 | Discrete areas: statement of insulation criteria | 1363-1, 1634-1 and others | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 023-2018 | n/a | Workshop 06/2017 | Discrete areas: positioning of TC’s on their assigned area | EN 1634-1:2014+A1:2018 | Best practice | Current | 2018-04-18 | Fire Resistance
EGOLF Recommendation 052-2018 | n/a | TC1 Helpdesk 2015-09 | Rounding rules & decimal places when reporting results | EN ISO 11925-2, EN 13823, EN ISO 1716, EN ISO 1182, EN ISO 9239-1, EN 50399, EN 61034-2 & EN 50267-2-3 | Best practice | Current | 2018-10-10 | Reaction to fire
EGOLF Recommendation 053-2019 | ER 43: 2009 | TC2 N891 | EN1366-1 Clarification of test procedures | EN 1366-1 | Best practice | Current | 2019-05-13 | Fire Resistance
EGOLF Recommendation 054-2019 | n/a | TC2 N862rev1; helpdesk 2018-09 | How to classifiy when test evidence contradicts DiAP and/or ExAp | EN 1634-1 | Best practice | Current | 2019-05-13 | Fire Resistance
EGOLF Recommendation 055-2019 | n/a | TC1 N674rev3 | Testing linear products in the SBI | EN 13823 | Best practice | Current | 2019-08-12 | Reaction to fire
EGOLF Recommendation 056-2020 | n/a | TC2 N858rev1 | EN 1365-2 load application | EN 1365-2 | Best practice | Current | 2020-03-30 | Fire Resistance
EGOLF Recommendation 057rev1-2020 | n/a | TC2 N853rev3 | Steel profiles on unexposed side & location thermocouples | EN 1364-1 & EN 1365-1 | Best practice | Current | 2020-08-09 | Fire Resistance
WITHDRAWN EGOLF Recommendation 058rev1-2020 | EGOLF Recommendation 058-2020 | TC2 861rev2 | Double thermocouples for maximum temperature rise | EN 1363-1 | Best practice | Withdrawn | 2021-03-25 | Fire Resistance
EGOLF Recommendation 059-2020 | n/a | n/a | Use of cameras as method of verification | EN 1363-1 par. 10.4.5.4 & ISO 17025:2017 | Best practice | Current | 2020-04-24 | Fire resistance
EGOLF Recommendation 060-2021 | n/a | TC2 Helpdesk 313 | Additional thermocouples on sliding doorsets (in proximity of joints) | EN 1634-1 | Best practice | Current | 2021-06-10 | Fire Resistance
EGOLF Recommendation 061-2021 | EGR 024rev1-2018 for some aspects | Action Plan 04 | Harmonization of pressure measurement, processing and reporting | EN 1363-1 | Best practice | Current | 2021-10-06 | Fire Resistance
EGOLF Recommendation 062-2022 V2 | n/a | TC2 N941 & N957 | Reporting test results | EN 1363-1, EN 1634-1, EN 1366-6 | Best practice | Current | 2022-02-15 | Fire Resistance
EGOLF Recommendation 063-2022 | n/a | TC2 N963 | Thermal treatment before chimney fire test | EN 1366-13 | Best practice | Current | 2022-06-13 | Fire Resistance
EGOLF Recommendation 064-2024 | n/a | TC2 N979, Helpdesk 554 | Additional supports and reinforcement to rigid standard supporting cosntructions | EN 1363-1 | Best practice | Current | 2024-10-07 | Fire Resistance

## EGPs
EGOLF POSITION PAPERS (EGPs) - Errors or problems with a standard for attention of relevant CEN body (Issued January 2023)
Current document number | Previous document number | Reference to original query | Document title/subject | Cross-referenced test standards and product standards | Mandatory (EGA) or Best Practice (EGR) | Status | Issued/Re-issued (date) | Section relevance
EGOLF Position Paper 001-2012 | EGP 01:2012 |  | Review of non combustibility test method | EN ISO 1182:2010 | Position Paper | Current | 2012-10-24 | Reaction to Fire
EGOLF Position Paper 002-2015 | EGP 02:2015 |  | TS 1187 direct field application rules | EN 13501-5 | Position Paper | Current | 2015-02-17 | Reaction to Fire
Withdrawn | EGP 03:2012 |  | Incandescent particles | EN 13823 | n/a | Withdrawn 20/03/2014 | 2012-11-13 | Reaction to Fire
On hold | EGP 04:2015 |  | Burnt length of EPS insulation in a test specimen | CEN/TS 1187 tm1 |  | on hold pending CEN TC 127 WG5 review of EGOLF solution | 2015-06-19 | Reaction to Fire
EGOLF Position Paper 005-2016 | TC1 N584rev3 |  | Extension to test and glowing ombustion criteria | CEN/TS 1187 tm1 | Position Paper | Current | 2016-10-18 | Reaction to Fire
EGOLF Position Paper 006-2019 | Previously EGR 051-2018 | Workshop 01/2018 | State-of-the-art review of EN 1634-3 | EN 1634-3 | Mandatory | Current | 2019-05-27 | Fire Resistance
EGOLF Position Paper 006-2019 | previously EGR 051-2018 (TC2 N876) | Helpdesk 2017-03 | State-of-the-art review of EN 1634-3 (outcome of EGOLF WORKSHOP 01/2018 at DBI) | EN 1634-3 | Mandatory | Current
EGOLF Position Paper 007-2019 | EGP 007 | TC2 N890rev1 | Description of test specimen | EN 1363-1 | Mandatory | Current | 2019-05-31 | Fire Resistance
EGOLF Position Paper 008-2019 | n/a | Helpdesk online ref. 295 | DIAP of EN 1634-1 in associated supporting construction vs. side and transom panels | EN 1634-1 | Mandatory | Current | 2019-06-26 | Fire Resistance
EGOLF Position Paper 009-2019 | n/a | TC2 N879 | Number of furnace plate thermocouples | EN 1366-2 | Mandatory | Current | 2019-07-01 | Fire Resistance
EGOLF Position Paper 010-2019 | n/a | TC2 N880 | Common interpretation of the rule X.45 from EN 15582-2 | EN 15882-2 | Mandatory | Current | 2019-07-01 | Fire Resistance
EGOLF Position Paper 011-2019 | n/a | TC2 N881 | Common interpretation of the rule X.54 from EN 15582-2 | EN 15882-2 | Mandatory | Current | 2019-07-01 | Fire Resistance
EGOLF Position Paper 012-2019 | n/a | TC2 N882 | What does the fire damper actuating mechanism mean? | EN 1366-2 | Mandatory | Current | 2019-07-01 | Fire Resistance